## Slide 1: AutoSave and Snapshot in Fermi EPICS
Jimmy You
Oct, 2024
URL: AutoSave and Snapshot in Fermi EPICS

## Slide 2: Requirement
AutoSave for boot loader
  Preserve the states of a set of PVs of an IOC across reboots
  Must support every IOC consistently
  Configuration managed as part of IOC, like the PV database
  Auto-save files on NFS, align with IOC runtime infrastructure
  Redundancy and backup of the auto-save files
Snapshot and Restore
  Support snapshot of the states of PVs, across systems of IOCs
  Should be database based
  Support comparison and modification
  Search and filter
  Flexible restore capability, such as partial restore, restore with scale
  GUI tool is desirable

## Slide 3: Autosave
EPICS community supports module autosave
https://github.com/epics-modules/autosave/tree/R5-9
save_restoreSet_status_prefix(”$(IOCNAME):”)
set_requestfile_path("$(SAVE_DIR)”)
set_savefile_path("$(SAVE_DIR)")
save_restoreSet_NumSeqFiles(3) # Schedule a maximum of 3 sequenced backups of the .sav file
save_restoreSet_SeqPeriodInSeconds(600) # every 10 minutes - .sav0, .sav1, .sav2
set_pass1_restoreFile("$(IOCNAME).sav") # Arrange for restoring saved values into records
iocInit
# Create request file and start periodic 'save’
makeAutosaveFileFromDbInfo("$(SAVE_DIR)/$(IOCNAME).req", "autosaveFields")
create_monitor_set("$(IOCNAME).req", 30)

## Slide 4: Autosave module
iocdev1 iocBoot> cd jy
iocdev1 jy> ll
total 40
-rw-rw-r-- 1 youj 124 Jul 20 21:16 Makefile
-rw-rw-r-- 1 youj 14 Aug 7 19:54 auto_settings.req
-rw-rw-r-- 1 youj 97 Aug 8 20:47 auto_settings.sav
-rw-rw-r-- 1 youj 96 Aug 8 20:45 auto_settings.sav0
-rw-rw-r-- 1 youj 96 Aug 8 20:43 auto_settings.sav1
-rw-rw-r-- 1 youj 96 Aug 8 20:44 auto_settings.sav2
-rw-rw-r-- 1 youj 97 Aug 8 20:47 auto_settings.savB
-rw-r--r-- 1 youj 97 Sep 21 14:02 auto_settings.sav_230921-140219
-rw-rw-r-- 1 youj 137 Aug 7 20:43 envPaths
-rwxr-xr-x 1 youj 1226 Aug 7 20:49 st.cmd
iocdev1 jy> cat auto_settings.req
jylongout.VAL
iocdev1 jy> cat auto_settings.sav
# autosave R5.3 Automatically generated - DO NOT MODIFY - 230808-204757
jylongout.VAL 2345
<END>
iocdev1 jy>
st.cmd
#JY for autosave ++
set_requestfile_path("$(TOP)/iocBoot/$(IOC)", "")
set_savefile_path("${TOP}/iocBoot/${IOC}")
set_pass0_restoreFile("auto_settings.sav", "P=xxx:")
set_pass1_restoreFile("auto_settings.sav", "P=xxx:")
save_restoreSet_DatedBackupFiles(1)
save_restoreSet_RetrySeconds(60)
#JY for autosave --
iocInit()
create_monitor_set("auto_settings.req", 30)
record(longout, "jylongout") {
field(DESC, "JY LongOut")
field(DTYP, "DtypJY")
info(autosaveFields, VAL)”
}
makeAutosaveFileFromDbInfo(“dbauto.req", "autosaveFields")

## Slide 5: Snapshot and Restore
EPICS community supports Save And Restore
It consists of the following components
  A Phoebus application: A GUI, connects to IOCs and JMASAR
    Present GUI to manage configurations, snapshots
    Send API to JMASAR to take snapshot, fetch snapshots
    readPV from IOC for live state
    writePV to IOC for restoring snapshot to IOC
  JMASAR, an HTTPS API server, implemented using SpringBoot
    Enables endpoints: /config, /snapshot, /node; takes snapshot of IOC
  Database: Elasticsearch
    Stores configuration/list of PVs in a snapshot and the actual state of PVs